## Slide 1: Colorimetry

## Slide 2: Need to book
Practical activity 23
Graph paper
Rulers
Pencils
Repro
  Practical sheet 23
  PPQ x 2

## Slide 3: Learning Objective
Know about colorimetry
Explain quantitative methods to determine concentrations of a chemical in solution
  Including colorimetry and biosensors
Success Criteria

## Slide 4: Examples of Biosensors?
Notes: Reagent strips (test urine & blood in analysis)

## Slide 5: Biosensors: Pregnancy Test
Testing for hCG (human chorionic gonadotrophin hormone)
Immobilised antibodies on a stick
  Antibodies are attached to a dye
Hormone passes up the stick and binds to the complementary antibodies
Making the dye become visible
Second control line to show test is working
2 coloured lines = positive result
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 6: What is colorimetry?
Colorimetric techniques are used to identify coloured solutions and measure their concentration.
Colorimetry relies on coloured solutions absorbing light of a particular wavelength.
However the technique can also be used to analyse colourless substances if they react with a dye.
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 7: How does it work?
Colorimetry uses a machine called a colorimeter.
The sample tubes placed in the colorimeter are called cuvettes.
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 8: How does it work?
Colorimeter
Bulb
Filter
Cuvette with sample
Photocell
Display
36%
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 9: Other information
We can measure either transmission of light or absorbance of light.
A reference sample is used so the samples to be tested can be compared to the reference.
The filter is used so only a narrow band of visible light is absorbed or transmitted by the sample.
If a substance is colourless, colorimetry can still be used if the substance reacts with a dye.
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 10: Calibration curves
These are created by measuring the absorbance or transmission of a number of solutions of known concentration.
A graph is then drawn.
An unknown sample is then tested. By taking its absorbance or transmission the concentration of the sample can then be calculated.
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 11
Concentration
% Absorbance
The curve may actually be a curve
Or it may be a straight line
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 12
Concentration
% Absorbance
Or it may be a straight line
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 13
Concentration
% Absorbance
Take samples % absorbance. Draw across to curve.
Draw down and read off concentration
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 14: Task
Carry out colorimetry practical
  Use worksheet [Activity 23] to monitor the time course of protein hydrolysis
Colorimeter
You need to have in your lab book
  Results tables
  Graphs
  Calculations
Practical Skills: Graph drawing
PAG5
Explain quantitative methods to determine concentrations of a chemical in solution

## Slide 15: Peer Assess Graphs
Marks | 
Equal scaling on axis | 
Plotted on at least 50% of graph paper | 
Absorbance on y axis | 
Units given | 
Points plotted correctly | 

## Slide 16: Plenary: Past Paper Question
June 2009 3d
The activity of an enzyme can be measured by testing for the concentration of its product at regular intervals.
Describe how the concentration of a reducing sugar can be measured using a colorimeter [6]

## Slide 17: Markscheme

## Slide 18: PPQ- Pregnancy Tests
On print outs x2

## Slide 19: Markscheme 2010

## Slide 21: Markscheme 2012

## Slide 22: Homework
Complete lab books
Answer questions on practical sheet